I. Instrument Diagram and Introduction

1.1 Diagram

The diagram is only for your reference. If any discrepancy found between the diagram and actual product, the actual product shall prevail.

①顶部检测孔（甲醛、TVOC）:Top detection hole (formaldehyde, TVOC)

②甲醛浓度:Formaldehyde concentration

③TVOC浓度:TVOC concentration

④PM2.5数值:PM2.5 value

⑤电源开关:Power supply switch

⑥PM2.5检测孔：PM2.5 detection hole

⑦正面：Front

⑧充电显示灯：Charging LED

⑨充电红灯闪烁：When it is charging, the red light is flashing.

⑩充满绿灯常亮：When it is fully charged, the green light is always on.

⑪欠压红灯常亮：When it is undervoltage, the red light is always on.

⑫功能按键：Function button

⑬背部检测孔	Back detection hole：

（甲醛、TVOC）	(Formaldehyde, TVOC)

⑭PM2.5检测孔：PM2.5 detection hole

⑮背面：Back

1.1 Function Button

SET ............ If you long press it for three seconds, the detection data is cleared.

PM ............ After it is powered on, it will automatically detect the PM2.5 value; it will turn the detection off after 5 minutes’ boot detection, and the LED flashes and shows the last detection value. If you short press it, PM2.5 detection will be rebooted; if you long press it for 3 seconds, it will turn PM2.5 detection off.

HT ............ When the boot finishes countdown from 200 to 0, turn on/off the display of formaldehyde and TVOC concentration. After it is turned off, the formaldehyde and TVOC screen counts down from 60 to 0; when the countdown is finished, it is turned off completely. You press it again during the countdown, the display is restored; after it is turned off completely, if you want to turn it on again, the boot requires a new countdown from 200 to 0.

MAX ............ If it is press down, it will display all detected maximum values; if it is press down again, it will return to real-time display.

1.3 Product Introduction

Product name: Formaldehyde detector

Product Model: JCG60

Display method: Digital display

Measurement method: Sensor sensing technology

Monitoring method: Automatic

Power supply: Polymer lithium battery

1.4 Measurement Range and Index

Formaldehyde measurement index

Measuring range: 0.001-3.888

Volatile organic compound (VOC) measurement index

Measuring range: 0.001-9.999

PM2.5 range: 0-999.9

II. Safety and Maintenance

1. Do not conduct measurement when the product is in a highly contaminated chemical environment, because the environment can damage the product.

2. Do not use the product when the product is in an environment that exceeds the normal temperature and humidity, because the environment will affect the measurement accuracy.

3. Do not disassemble the internal device and shell.

4. Only use a dry cloth to clean the surface of the shell softly, and do not use a damp cloth.

5. Do not let the product encounter strong shocks and vibrations (for example, falling to the ground).

6. Do not directly inflate the pressure-vent hole or block the detection hole, because this will interfere with the normal operation of the product.

7. Do not let foreign matter or moisture into the interior of the machine.

8. Do not use cloth to cover the machine.

III. Usage and Operation

3.1 Notice to Users

1. If the instrument is used for the first time or stored for a long time, please boot it outdoor or near window, and after half an hour (it is recommended that the temperature difference between indoor and outdoor can not be too high) when the value is returned to zero, use it (if the value cannot be returned to zero, please press the “SET” key for calibration zero.

2. When you use the instrument again, you can use it immediately after it has been placed outdoors or in a ventilated area for 7-10 minutes. (If you don’t want to get the test results immediately, we don’t recommend that you use the relative tests often. If you use this function, please leave it outdoors for more than 30 minutes, otherwise it may affect the accuracy of the next measurement.)

3. You start the detection: Doors and windows shall be closed before and during the detection; the detection location can be the bedroom, living room, cabinets, cloakrooms and other places. Do not block the detection port of the machine during or after the detection; you read the inspection results directly.

4. When you detect the second place, you just take the detector to the second place; after it is placed for three minutes or so, you read the values directly; it is the same to detect the third and fourth place. If there is air flow, or if the change in temperature and humidity is large, it will affect the monitoring accuracy.

3.2 Operation Instructions

①. Turn on power supply switch.

②. Test of formaldehyde and TVOC can be conducted after preheating whose countdown is from 200 to 0.

③. If formaldehyde value exceeds the standard (the standard values are according to national standards; when the formaldehyde concentration exceeds 0.1mg/m3, TVOC concentration exceeds 0.6mg/m3), the display shows “bad”; if the air is seriously unqualified (formaldehyde concentration is greater than 0.3mg/m3; PM2.5 concentration is more than 300ug/m3), the buzzer gives an alarm.

④. After use, please turn off the power switch to prevent the automatic shutdown due to running out of power (if the instrument is automatic shutdown due to running out of power, it needs to be recharged; press any key to boot during the charging process, otherwise, it shall be turned off, and then it shall be turned on again for normal use.).

IV. Precautions

1. Any sensor will be interfered with by certain external substances in working, so, when you use this product for detection, please avoid contact with alcohols, perfumes and other terpinoid alcohols, other chemical volatile gases, smoke and other gases.

2. The indoor air is in circulation at all times, so the air entering the sensor vents at different time points is different, and the formaldehyde content in the air may also be different. Therefore, a small amount of fluctuations in the detection values ​​is a normal phenomenon.

3. When you use the instrument, please avoid that the strong wind from electric fans and heaters blown directly to the pressure-vent hole, because it affect the accuracy of the test results. The product should be placed in an area with relatively stable air flow, so that the detection results are accurate.

4. Prior to the detection of formaldehyde and TVOC in bedrooms, living rooms, cloakrooms, etc., the windows and doors should be sealed for 24 hours, and the detection results are better. If you detect multiple points in a room, the average of readings at multiple points is the average air content in the room.

V. Use Environment

Humidity range: 15-90% RH

Pressure range: One atmosphere

VI. Common Problems and Solutions

1. Q: I am lazy and I don’t want to think hard. Is there an easiest way to use it?

A: Yes, there is. You boot the instrument in the ventilated area outside the window; after about 10 minutes, you keep in boot state; you just take it directly into the room for detection; you can get the test results 3-5 minutes after the indoor test. Except that you boot the instrument, you do not need to press any button until all measurements are completed; then you just turn it off. (If you first use the instrument, you turn it off outdoor, and the ventilation is for 24h; if you turn it on outdoor, the ventilation is 1h.)

2. Q: Why do I need to calibrate the detector when using it for the first time?

A: The necessary function of professional detecting instruments is that it shall be calibrated before detection so as to ensure the validity of the detection results. The instrument is applied to civil use from industry with more accurate and more sensitive. Please ensure that the calibration environment is outdoor pure air; the normal calibration time is more than 10 minutes; it is recommended that the calibration time of the new machine can be longer, and the calibration quality is higher, and the detection speed and detection accuracy is also higher.

3. Q: Why is it difficult to calibrate outside? Why outdoor values are high? Why these values are difficult to return to zero?

A: You need to manually calibrate it: Place the instrument outdoor and boot it; the screen will show the countdown from 200 to 0; you keep the current boot state; 3 minutes after the countdown is finished, you long press the SET key for 3 seconds, and the values are all returned to zero; you keep the current boot state; the time of outdoor ventilation is 30 minutes; you just wait for the instrument to conduct recalibration. You avoid contaminated sites in calibration; the gases emitted by outdoor vehicles or from drainage and septic tank and direct sunlight will interfere the instrument.

4. Q: The detection values are sometimes high or low, or unqualified, or unstable with low values. Why?

A: ①. The instrument calibration is unqualified. You recalibrate it by the calibration procedure, and this problem can be solved. ②. The instrument conducts detection in real time, while the air is flowing irregularly; the instrument is sensitive and immediately displays the content of formaldehyde that is exposed. It is recommended that you close the doors and windows; you keep the airflow as stable as possible in detection.

5. Q: Why does the detector always show 0.000 during indoor detection?

A: The sensitivity and accuracy of the instrument are closely related to the calibration quality and calibration time. Please relocate the instrument to the place with outdoor ventilation and recalibrate it for more than 10 minutes. The problem will be solved. The instrument can display the correct detection results after it is static for 3-5 minutes in the detection environment during detection. If the instrument still displayes “0.000”, it proves that the formaldehyde content in the air is so low that the instrument cannot sense it.

6. Q: What are the correct calibration ways?

A: ①. Auto calibration: You place the instrument outdoors or in a ventilated area; the instrument will automatically conduct calibration more than 15 minutes (30 minutes for the first time) after boot; you can take it into the room for detection after calibration without repeated calibration and shutdown. ②. Manual calibration: If the instrument can not be automatically calibrated, or if the instrument is not used for a long time, you can manually calibrate the instrument. You place the instrument outdoors or in a ventilated area; when it displays 4-digit values after boot, you long press the SET key for 3 seconds, and place it for over 10 minutes (30 minutes for the first time); you can take it into the room for detection after calibration without repeated calibration and shutdown.

7. Q: What are the standard values of formaldehyde and TVOC?

A: The testing standards for our products are as follows:

①. Formaldehyde (HCHO) standard ≤ 0.10 mg/m3

(GB/T 18883-2002 Indoor Air Quality Standard).

②. TVOC standard ≤0.6 mg/m3

(GB/T 18883-2002 & GB/50325-2001 Class II Civil Construction Projects).

③. PM2.5 concentration standard: Qualified: ≤120ug/m3; unqualified: >120ug/m3.

VII. Sources of Formaldehyde and Chemical Pollutants (TVOC)

1. Construction and decoration materials: including floor glue, synthetic fiber, white latex and paint which are commonly used in building materials.

2. Artificial boards: Formaldehyde is one of the main raw materials of adhesives used in the production of artificial board, and indoor furniture and floors use massively the artificial boards, so the formaldehyde contained in the boards is slowly released to the air.

3. Decorative textiles: including beddings, wall clothes, wall papers and carpets.

4. Dyes and incompletely burned tobaccos, including the burning of the kitchen coal stove, liquefied gas, cigarettes and mosquito coils.

5. The use of cosmetics, detergents, insecticides, printing inks, disinfectants, preservatives, etc.

6. Melamine tableware and kitchenware will also emit infinitesimal formaldehyde.

The main sources of indoor TVOC

Building materials, interior decoration materials, and living and office supplies emit TVOC.

1. Artificial boards, foam insulation materials and plastic sheets of building materials.

2. Paints, coatings, adhesives, wall papers and carpets of interior decoration materials; life

3. Office supplies mainly refer to ink, copiers, typewriters, etc.

4. In addition, household fuels, smoking, human waste, outdoor industrial waste gas, automobile exhaust, and photochemical pollution are also the main factors affecting the indoor TVOC sources.

After-sales tel.: 021-60522688.