
 OPERATING  MANUAL


              Zhengzhou Sine Electronic Studio
                    Table of Contents
Contact ...........................................................1
Check the box .....................................................2
Chapter 1 Overview................................................ 3
First, the instrument Introduction................................ 3
Second, the instrument characteristics ............................3
Third, technical indicators .......................................3
Chapter 2 Instrument Description...................................5
First, the module description .....................................5
Second, the display shows .........................................5
Chapter 3 Instruction..............................................6
First, the wiring .................................................6
Second, the current value of the set voltage ......................6
Third, the output .................................................6
Adjust the voltage and current values under four output state .....6
Fifth, turn off the output ........................................6
Sixth, the automatic power-output .................................7
Note.............................................................. 8
Warranty and service ..............................................9


Check The Box

   When you get a new NC Regulators 600W modules, it is recommended that you follow the following steps to inspect the instrument.
Check for damage caused by transportation. 

If found packaging cartons or bubble bag protection cushion has suffered serious damage, keep them until the completeness and pass the test.
Check the box in the article are complete.
The contents of the box are as follows. If the content does not match or if the instrument is damaged, contact your dealer or manufacturer.
 Host: 600W CNC boost module     1 set

 Accessories: User Manual (“pdf” version)1       
2. Check the machine.

 Inspect the instrument is damaged, not working properly, or fails performance tests, please contact your dealer or manufacturer.
                The First Chapter
First, Introduction Instrument

   600W DC-DC step-up module is a CNC all-digital display boost module, small size, high power, high efficiency, stable. The use of advanced microprocessor controlled, precise voltage and current adjustment using the keys, can constant voltage constant current output. With four eight LED digital control, real-time display the output voltage and current. Meanwhile, the NC Boost module with working status indicator, you can view real-time job status. In addition, the machine has an automatic output after power function can be turned on or off as needed.
Second, The instrument characteristics
1, High-quality power devices with peripherals precision operational amplifier CV and CC loop configuration, which greatly improves the performance of the module;


2, Two 1mm double-wound high current inductor, input using two 1000uF / 63V electrolytic capacitor, output using three 470uF / 100V electrolytic capacitor, comes with fan cooling, the temperature rise is small, the output voltage quality is very good;


3, All-digital display, easy to use;


4, Can be constant voltage, constant current output;


5, The module with working status indicator, respectively, the output OUT, constant voltage CV, constant current CC indicator, you can view real-time job status;


6, The use of advanced microprocessors, the key can be precisely regulated output voltage and current;

7, The use of four high-brightness LED, can display the output voltage, current, capacity, time;


8, Can be set to automatically output after power on.
Third, Technical Indicators
	      Project 
	Parameters

	input voltage
	6V~40V（400W）

	
	6V-60V（600W）

	Input Current
	10A（max）

	Output Voltage
	6V~80V（400W）

	
	6V~90V（600W）

	Output current
	0~9.99A

	Output Power
	
400W（max）


	
	     600W（max）

	Voltage Regulator / Display Resolution
	0.01V

	Current Regulation / Display Resolution
	0.01A

	Output ripple
	≤50mV

	Short-circuit protection 15A automotive fuse
	15A Automotive Fuses

	8500 wiring terminals
	8500 Terminal

	Product size (length × width × height)
	104×60×44(mm)

	weight
	295g


Four: Efficiency Test
	Data Group
	      Input
	Output
	Effectiveness

	The First group
	  Voltage：18.52V
	 Voltage：25.73V
	91.9%

	
	  Current：07.54A 
	Current：04.99A
	

	The Second Group
	  Voltage：16.36V
	 Voltage：28.49V
	90.5%

	
	Current：07.69A
	Current：04.00A
	

	The third group
	  Voltage：11.51V
	 Voltage：24.50V
	88.9%

	
	 Current：07.18A
	Current：03.00A
	

	The fourth group
	 Voltage：11.51V
	 Voltage：35.69V
	88.1%

	
	 Current：07.04A
	Current：02.00A
	

	The fifth group
	  Voltage：11.54V
	 Voltage：44.59V
	87.8%

	
	 Current：06.60A
	Current：01.50A
	


      Chapter II Instrument Description
First, The module description

[image: image1.png]



Figure 2-1 600W module icon

	Grade
	Explanation
	Grade
	Explanation

	1
	
Fan
	5
	Digital

	2
	Input-
	6
	Operation indicator

	3
	Input+
	7
	Output +

	4
	Operating buttons
	8
	Output -


                     Table 2-1 600W Module Description
Second, The display shows
	Digital Display
	             Description

	 00.00
	       Voltage，00.00~90.00V

	 0.00A
	       Current，00.00~9.99A

	        0.00A .
	       Capacity，00.00~9.99AH

	        0.00H
	       Time ，00.0H~9.99H


                     Table 2-2 600W Display Description
              Chapter III Instructions
1. Wiring

 Correctly connect the input and output to ensure that the range of input voltage requirements, the reverse is prohibited.
The module is available in two versions:
CNC boost 400W (without cooling fan)


 NOTE: Input voltage range: 6V ~ 40V;
    Output voltage range: 6V ~ 80V;
    Input Current Range: 0A ~ 10A;
    Output Current Range: 0A ~ 9.99A.


CNC boost 600W (with cooling fan)


  NOTE: Input voltage range: 6V ~ 40V;
     Output voltage range: 6V ~ 80V;
     Input Current Range: 0A ~ 10A;
     Output Current Range: 0A ~ 9.99A.
2, Set the voltage and current values

After the power-on default display format is the voltage set value, the voltage value displayed is "00.00", the unit is "V", for example, "12.00" means "12.00V". Press the "SET" button to switch to the current set value, the current value of the display format is "00.00A", the unit is "A", such as "01.20A" indicates "01.20A".
Setting method: Press the “[image: image2.png]


”to increase the set value, press the “[image: image3.png]


 “to decrease the set value, press accurately set, press can be quickly set. Press the "SET" button will switch to the current or voltage value
3, Open output

After setting voltage and current values, press the "OK" button to directly output.
4, Adjust the output voltage and current values under the state

   Output state when the voltage value is displayed pressing [image: image4.png]


 to increase the output voltage,
Press [image: image5.png]


 to reduce the output voltage,
Press [image: image6.png]


when displaying the current value of the current set value can be increased,
Press [image: image7.png]


to decrease the current setting, press accurately set,
Press can be quickly set.
5, Turn off the output
Output state, press the "SET" button to turn off the output.

6, the automatic power-output function
Automatic power-output function is enabled:
  Press "SET" button to enter the parameter setting page, click on the button to adjust to "-F2-" option, then click on the "OK" button, digital display "Yo-0", click on the button, the display switches to "Yo -1 ", and finally click" OK "button to save the settings.
Auto power-output function close method:
  Press "SET" button to enter the parameter setting page, click on the button to adjust to "-F2-" option, then click on the "OK" button, digital display "Yo-1", click on the next button, the display switches to "Yo -0 "and finally click" OK "button to save the settings.

7, Display output capacity function

    Under the current status display, press the OK button to display 0.00A;. Capacity value at this time is displayed.
   In the display voltage state, long press the OK button to display 0.00H; displayed at this time is a time value.
8、parameters save, recall
Save parameters: 

     Press "SET" key to enter the parameter setting page, click on the button or down button to adjust the "-F0-" option, then click on the "OK" button, digital display "Sn-0", or click on the button down keys to change the address, and finally click "OK" button to save a good set parameters are saved to the corresponding address bits.
Parameters recall: 
Press "SET" button to enter the parameter setting page, click on the button or down button to adjust the "-F1-" option, then click on the "OK" button, digital display "Lo-0", click on the button or down button to change the address, and finally click "OK" button to save parameters corresponding address bit out of tune.
A total of 0-9 ten-bit address, the default boot address bits 0 output data.

Precautions
1, the module is a step-up module, VOUT≥VIN. To the module is powered, in the absence of output, the output terminal voltage voltage, the output terminal is equal to the input voltage; if the programmed output voltage lower than the input voltage, the voltage output after the output terminal is also equal to the input voltage, which is a normal phenomenon, when using the input voltage must be lower than the output voltage or the rated voltage of electrical and electronic equipment.
2, high-power electrical appliances to power, turn off the automatic output function, and then connect the input and output, and then press the "OK" button output, and wait until the voltage rises to a set voltage, and finally open appliances.
3, to charge the battery, turn off the automatic output function, setting the appropriate charge voltage and current, connect the battery, and then press the "OK" button output, you can charge the battery.
4, high-power long work use a fan to enhance heat dissipation.
5, the effective power P = input voltage V * 10A, nominal 400W maximum power module means that under certain operating conditions, at different input voltage, the maximum output power is limited by the maximum input current limit declined. such as,
The input voltage is 12V: Maximum output power P = 12V * 10A = 120W
The input voltage is 24V: Maximum output power P = 24V * 10A = 240W
The input voltage is 40V: Maximum output power P = 40V * 10A = 400W
Warranty and service
     Thank you for purchasing electronic sine studio products. To maximize the use of your new product features, we recommend that you take the following a few simple steps:
1. Read the safe and efficient use.
2. Read the warranty terms and conditions.
Warranty conditions:
     From the date of shipment from the instrument warranty for one year. During the warranty period, the company's failure to repair or replace the instrument selected according to the situation. For service, please send the product to our company.
Warranty does not cover the following cases:
     User operation or improper maintenance; or use the software to provide their own user interfaces; unauthorized modification of the instrument.
    600W DC-DC


 CNC boost module









